## EVPCIR
Comments
Electric Vehicle Supply Equipment (EVSE) Connection
EV Preliminary Consultation Information Request (EVPCIR)
This form is intended for use by customers that have flexibility in where they can install their planned EVSE.
1. Instructions
The Customer should only proceed with this form if the proposed EVSE project is for non-residential applications. The Customer should complete the latest version of the EVPCIR form, and submit the form per the instruction provided on the distributor's website. All fields are required, unless otherwise noted, to enable the preliminary connection assessment. The Customer does not need to commit to any information provided in the EVPCIR. Changes can be made when submitting a written connection request. Please note that the preliminary consultation process does not consider the full range of technical evaluations that would be performed by the distributor. Once a complete EVPCIR is submitted to the distributor, the distributor will respond with an EV Preliminary Consultation Report (EVPCR) which provides additional information on the potential complexity of the connection of the proposed EVSE. Capacity is not reserved upon completion of an EVPCR, capacity is reserved upon execution of the Offer to Connect. All kVA capacity information in this form should be in alternating current (AC) power.
2. Distributor Contact Information
2.01 | Contact Information
| A. Distributor Name | - | Northern Ontario Wires Inc. | Pre-populated by Distributor
| B. Department Name | - | Administration | Pre-populated by Distributor
| C. Department Address | - | 153 Sixth Avenue | Pre-populated by Distributor
| D. Department City & Postal Code | - | Cochrane, ON, P0L 1C0 | Pre-populated by Distributor
| E. Department Fax | - | (705) 272-3515 | Pre-populated by Distributor (Optional)
| F. Department Phone | - | 1(800) 619-6722 | Pre-populated by Distributor
| G. Department Email | - | customercare@nowinc.ca | Pre-populated by Distributor
3. General Customer Information
3.01 | Application Information
| A. Project Name | - |  | -
| B. Application Submission Date | Date |  | Format: YYYY-MM-DD
3.02 | Customer Contact Information
| A. Customer (Company Name) | - |  | -
| B. Customer Type | Select | Please select applicant type | -
| C. Customer Representative (Individual Name) | - |  | -
| D. Customer Address | - |  | Corporate Address (if applicable)
| E. Customer City | - |  | -
| F. Customer Postal Code | - |  | Format: A0A 0A0
| G. Customer Fax | - |  | Optional
| H. Customer Phone | - |  | Format: XXX-YYY-ZZZZ
| I. Customer Email | - |  | -
4. Project Information |  |  |  |  | [Recommended implementation] To accommodate multiple EVPCIRs application from same applicant: number of sites entered will trigger multiple of input box for section 4 and section 5. This can be easily done if published through web/digital interface
4 | Is this EV-PCIR for multiple sites? (if Applicable) | Number |  | enter number of sites
4.01 | Project Nameplate & Type
| A. Existing or New Service |  | Please select Existing or New Service | Is there an existing load customer?
| B. Proposed Maximum Capacity of EVSE only | kVA |  | AC Capacity of EVSE
| C. Total Customer Peak Demand Estimate | kVA |  | AC Capacity including EVSE
| monthly if known Jan |  |  | kVA
| Feb |  |  | kVA
| Mar |  |  | kVA
| Apr |  |  | kVA
| May |  |  | kVA
| Jun |  |  | kVA
| Jul |  |  | kVA
| Aug |  |  | kVA
| Sep |  |  | kVA
| Oct |  |  | kVA
| Nov |  |  | kVA
| Dec |  |  | kVA
| D. Connection Type (Single/Three-Phase) | Select | Please select number of phases | if known
| E. Charger Type | Level | Please select what level charger
5. Site Information
5.01 | Existing Account Holder
| A. Existing Account Number (if Applicable) | - |  | Required if applicable
| B. Existing Account Holder Name (if Applicable) | - |  | Required if applicable
5.02 | Site Information
| A. Site Address | - |  | Location of proposed facility
| B. Site City/Town/Township | - |  | -
| C. Site Postal Code | - |  | -
| D. Site GPS Co-ordinates | - |  | Required for rural locations
6. Other Information
6.01 | Other Information
A. In the comment box below, the customer can provide any additional information related to the EVSE project that wasn't covered in the previous sections. This might include details such as anticipated hourly demand profile (in kWh), specifics make/model of EVSE to be installed, smart charge capability, intended end use (public, private, or institutional). Such supplementary details, beyond the required information outlined above, may assist the distributor in preparing the EVPCR by offering insights into potential connection impacts.
B. If the Customer is providing supplemental documents with the EVPCIR, please list them below.

## EVPCR
Comments
EV Supply Equipment (EVSE) Connection
EV Preliminary Consultation Report (EVPCR)
1. Information
The EV-PCR is an official response to a Customer's EV Preliminary Consultation Information Request (EVPCIR). It is intended to assists the Customer in completing a potential written connection request, should the Customer decide to proceed. Please note that the information provided below is based on information and records available at the time that this EVPCR was issued and is subject to change without notice. Further, the preliminary consultation process does not consider the full range of technical evaluations that would be performed by the distributor prior to deliverying an Offer to Connect. Capacity is only reserved after an Offer to Connect has been issued and executed by the Customer, in accordance with Distribution System Code and EV Charging Connection Procedures requirements.
2. Distributor Contact Information
2.01 | Contact Information
| A. Distributor Name | - | Northern Ontario Wires Inc. | Completed by Distributor
| B. Department Name | - | Administration | Completed by Distributor
| C. Department Address | - | 153 Sixth Avenue | Completed by Distributor
| D. Department City & Postal Code | - | Cochrane, ON, P0L 1C0 | Completed by Distributor
| E. Department Fax | - | (705) 272-3515 | Completed by Distributor (Optional)
| F. Department Phone | - | 1(800) 619-6722 | Completed by Distributor
| G. Department Email | - | customercare@nowinc.ca | Completed by Distributor
3. General Customer Information
3.01 | Administration
| A. Project ID | - |  | Assigned by Distributor
| B. Project Name | - | -- | As provided by customer
| C. Report Date | Date |  | Assigned by Distributor
3.02 | Customer Information
| A. Customer (Company Name) | - | -- | As provided by customer
| B. Customer Email | - | -- | As provided by customer
4. Project Information |  |  |  |  | [Recommended implementation] To accommodate multiple EVPCIRs application from same applicant: number of sites entered will trigger multiple of input box for section 4 and section 5. This can be easily done if published through web/digital interface
4 | Is this EVPCR for multiple sites? (If Applicable) | Number |  | enter number of sites
4.01 | Project Nameplate & Type
| A. Existing or New Service |  | Please select Existing or New Service | Is there an existing load customer?
| B. Proposed Maximum Capacity of EVSE only | kVA |  | AC capacity of EVSE
| C. Total Customer Peak Demand Estimate | kVA |  | AC Capacity including EVSE
| monthly if known Jan |  | -- | kVA
| Feb |  | -- | kVA
| Mar |  | -- | kVA
| Apr |  | -- | kVA
| May |  | -- | kVA
| Jun |  | -- | kVA
| Jul |  | -- | kVA
| Aug |  | -- | kVA
| Sep |  | -- | kVA
| Oct |  | -- | kVA
| Nov |  | -- | kVA
| Dec |  | -- | kVA
| D. Connection Type (Single/Three-Phase) |  | Please select number of phases | As provided by customer
| E. Charger Type | Level | Please select what level charger | As provided by customer
5. Connection Overview
5.01 | Site Information
| A. Site Address | - | -- | As provided by customer
| B. Site City/Town/Township | - | -- | As provided by customer
| C. Site Postal Code | - | -- | As provided by customer
| D. Site GPS Co-ordinates | - | -- | As provided by customer
5.02 | Site Connection Information
| A. Existing Site Distribution Transformer Capacity | kVA |  | If customer owned, Customer is to confirm with connection request
| B. Existing Site Distribution Transformer Ownership | Select | Distributor to select | Distributor or Customer-Owned
| C. Existing Connection Voltage | kV |  | -
| D. Distributor Asset ID (if Applicable) | - |  | Transformer ID, Vault ID, etc.
6. Preliminary Assessment of Connection Complexity
In order to provide an early indication of the anticipated complexity of a connection, this section provides an initial assessment of likely connection requirements and their complexity levels. These requirements are typically based on judgment or simplified criteria, and will be subject to change through the connection process and further consultation with upstream utilities, including any host distributor and the transmitter. Further, this preliminary assessment does not evaluate the potential for the full range of requirements set through the connection request process. Capacity is not reserved upon completion of an EVPCR, capacity is reserved upon execution of the Offer to Connect.
The following are the four potential complexity tiers. • Extremely High: Projects that are characterized as having “extremely high” complexity are likely not viable, due to the nature of system investment for the required distribution system expansion. Transmission system upgrades are not expected to be required. Customer-side infrastructure upgrades may be required and should be confirmed with the customer electrical contractor. • High: Projects that are characterized as having “high” complexity are expected to require major distribution system expansion upgrades. Transmission system upgrades are not expected to be required. Customer-side infrastructure upgrades may be required and should be confirmed with the customer electrical contractor. • Medium: Projects that are characterized as having “medium” complexity are expected to require minor distribution system expansion upgrades and may require connection asset installation or upgrade. Transmission system upgrades are not expected to be required. Customer-side infrastructure upgrades may be required and should be confirmed with the customer electrical contractor. • Low: Projects that are characterized as having “low” complexity are expected to be viable with no distribution system modifications. Connection asset installation or upgrade may be required and no distribution system expansion is expected to be required.Transmission system upgrades are not expected to be required. Customer-side infrastructure upgrades may be required and should be confirmed with the customer electrical contractor.
No. | Item |  | Preliminary Impact Assessment | Comments
6.01 | Distributor Overall Assessment of Connection Feasibility
| A. Anticipated Available Connection Capacity |  |  | kVA available capacity. Preliminary assessment by Distributor.
| B. Anticipated Connection Complexity | Select | Distributor to select | Preliminary assessment by Distributor
7. Additional Comments
Other Comments by Distributor
7.01 | A. This section provides additional detailed information from the distributor that may be helpful to the customer. This could include details such as potential long lead time materials, planned distribution asset replacement or upgrade work, description of expansion required, rough estimate of total cost, alternate system configurations due to feeder switching, potential connection design or sizing suggestions, teleprotection and/or communication.
8. Distributor Office Use Only (Optional)
8.01 | EVPCIR Status
| A. Date EVPCIR Received | Date |  | Completed by Distributor
| B. Date Returned Incomplete (if applicable) | Date |  | Completed by Distributor
| C. Date EVPCR Issued | Date |  | Completed by Distributor

## Drop-Down Lists
Drop-Down List Selections (Do Not Edit)
Applicant Type | EVSE Phase |  | Charger Type | Connection Type
Please select applicant type | Please select number of phases |  | Please select what level charger | Please select Existing or New Service
EVSE Owner | Single-Phase |  | Level 2 | Existing
Property Owner / Landlord / Property Manager | Three-Phase |  | Level 3 | New
Consultant |  |  | Mix of Lvl 2 & 3
Other
[5 empty] | Thermal and Short Circuit | Distributor CIA |  | Impact Assessment
[5 empty] | Please select response | Please select response |  | Distributor to select
[5 empty] | Known Constraint | No CIA Required Due To Capacity Constraint |  | Required
[5 empty] | No Known Constraint At This Time | Is Required To Officially Apply For Connection |  | Not Required
Dx Transformer Ownership |  | Preliminary Assessment |  | Weightings | Capacity
Distributor to select |  | Distributor to select |  | Distributor to select | Distributor to select |  | Preliminary Assessment
Distributor-Owned |  | Likely Required |  | N/A | No Capacity Due To Transmission Constraints At Present |  | Distributor to select
Customer-Owned |  | Required |  | Low | No Capacity Due To Distribution Constraints At Present |  | Required
|  | Unlikely To Be Required |  | Med | Conditional Pass: There may be capacity at this location |  | Not Required
|  | Not Required |  | High |  |  | Maybe Required
|  |  |  | Ex. High |  |  | Non-Transfer Trip Type of Protection & Control System Required
Complexity
Distributor to select
Low Complexity
Medium Complexity
High Complexity
Extremely High Complexity
N/A